## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Noida Metro Rail Corporation (NMRC) Limited
Name of Work: AMC-02: Annual Maintenance contract for civil works, for metro section from KP 2 station from Chainage 19320.27 m to Depot station Chainage 28677.13 & Depot and Staff Quarter of Aqua Line of N-GN corridor.
Contract No: NMRC/O&M/AMC-02/181/2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity for 3 years | Units | Estimated Rate (Inclusive of GST) in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [25 empty] | Specifications |  |  |  |  | TOTAL AMOUNT Without Tax Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | SCHEDULE A (DSR ITEMS) | BI01010001010000000000000515BI0100001112 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.01 | Any DSR item from DSR 2021 | BI01010001010000000000000515BI0100001113 | 1 | LS | 25700000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | SCHEDULE B (NDSR ITEMS) | BI01010001010000000000000515BI0100001114 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.001 | ALUMINIUM WORKS | BI01010001010000000000000515BI0100001115 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.002 | Designing, Providing, Fabrication and erection of extruded alumium fixed louvers / aerofoil sections of approved shade and colour powder coated ( minimum thickness of caoting 55 microns) with extruded aluminium subframe, extruded built up standard eliptical sections conforming to IS: 733 and IS: 1285 fixed with raw plugs and stainless steel screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC/neoprene felt complete in all respect. Aluminium sections shall be smooth, rust free, straight, as per architectural drawings and the directions of Engineer-in-charge.etc. All structural steel support frame work shall be paid seperately as per DSR 2016. | BI01010001010000000000000515BI0100001116 | 500 | KG | 642.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.003 | GRANITE WORKS | BI01010001010000000000000515BI0100001117 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.004 | Providing and laying 30mm thick prepolished Sadarhalli Grey/ Cheema Pink/ Jhalore Beige granite slab of sizes upto and including 1200X600mm on floor using 5mm thick approved thick bed adhesive as per specification over prepared base on 20mm (average) thick base of cement mortar 1:4 (1 Cement : 4 total aggregates - coarse sand and 10mm single sized aggregates) using 43 grade cement, water reducing admixture as per ISO 9103:1999 and jointing with white cement with matching colour pigment all complete (Colour of granite as approved by Engineer) in levelling course laid to proper slopes over screed base including base preparation, movement joint in screed as per specification with 10mm thick compressible filler to edge of screed/ blockwork junction with two parts polysulphide sealent to top edge, drainage gullies as per approved section, curing, testing etc. all complete as per specifications and relevent drawings. Screed shall be measured and paid extra as per DSR 2016. | BI01010001010000000000000515BI0100001118 | 50 | SQM | 4000.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.005 | Providing and laying 30mm thick mirror polished Sadarhalli Grey/ Cheema Pink/ Jhalore Beige granite stone work of upto and including sizes of 1200mmX600mm of approved colour/ pattern with 4mm groove all around at all levels for wall linings/ columns/ skirtings (veneer work) by mechanical arrangement with SS clamps/ brackets, anchor bolts, 6 mm vertical SS pins of approved make and inserts as per drawings and specifications. The cost of making necessary grooves all around stone pieces, chamfering of corner edges and polishing are included. | BI01010001010000000000000515BI0100001119 | 50 | SQM | 5431.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.006 | Extra for Red/ Raw Silk/ Tan Brown/ Jet Black granite | BI01010001010000000000000515BI0100001120 | 50 | SQM | 571.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.007 | Providing and laying 30mm thick FLAMED (with 25%-35% quantity polished as per pattern) Sadarhalli Grey Granite Stone flooring in treads and landings (including bull nosing, rounding the nose and making groove) of steps of approved colour, size and pattern, (sample of granite stone shall be approved by Engineer-in-charge) over 20mm (average) thick base of cement mortar 1:4 (1 cement : 4 coresand) laid and jointed with neat cement slurry mixed with pigment to match the shade of granite stone complete as per specifications and architectural drawings. | BI01010001010000000000000515BI0100001121 | 20 | SQM | 4000.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.008 | Extra for Red/ Raw Silk/ Tan Brown/ Jet Black granite | BI01010001010000000000000515BI0100001122 | 20 | SQM | 571.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.009 | Providing and laying 40mm polished Red/ Raw Silk/ Black/ Tan Brown/ Blue Pearl granite slabs for trench cover with 25mm dia holes @ 100mm c/c spacing complete. | BI01010001010000000000000515BI0100001123 | 25 | SQM | 5714.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.01 | SEALENT | BI01010001010000000000000515BI0100001124 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.011 | Providing and installing approved silicon sealant for 75 mm width expansion joint and wherever required as pre direction of engineer in charge including necessary bacl up all complete. | BI01010001010000000000000515BI0100001125 | 100 | RM | 939.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.012 | CORE CUTTING | BI01010001010000000000000515BI0100001126 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.013 | Core cutting of member of RCC/PCC of all grades 100 mm dia and 200mm thick RCC/PCC work | BI01010001010000000000000515BI0100001127 | 10 | EACH | 4184.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.014 | Core cutting of member of RCC/PCC of all grades 200 mm dia and 150mm thick RCC/PCC work | BI01010001010000000000000515BI0100001128 | 10 | EACH | 4263.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.015 | PAVER TILES | BI01010001010000000000000515BI0100001129 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.016 | Providing and laying yellow visibility vitrified tile as per control sample of size 200x100x8 mm thick at platform level over 20 mm thk bed of cement mortar 1:4 (1 cement : 4 coarse sand) in levelling course laid to proper slopes over screed base including base preparation including movement joint in screed as per specification with 10mm thick compressible filler to edge of screed with two parts polysulphide sealent to top edge as per approved drawing and directions of engineer-in-charge. Screed shall be measured, and paid extra as per DSR 2016. - all complete as per relevant drawings and specifications | BI01010001010000000000000515BI0100001130 | 20 | SQM | 1428.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.017 | Providing and laying 12mm (minimum) thick with 3mm (minimum) thick projection on surface yellow colored directional vitrified porcelain tactile tile of Palican or equivalent (as per specifications) laid on floor with Laticrete 111 crete filler powder mixed with Laticrete 73 latex admix and applied to a minimum thickness of 4.5mm (The mixing ratio shall be as follows: 20kg bag (Laticrete 111) : 5.5 litre (Laticrete 73). Spacer of 3mm shall be used between the tiles and joints filled using Laticrete Latapoxy SP-100 epoxy grout in Inca Gold color. The joint depth shall be 6mm. Laticrete products shall be as manufactured by Laticrete India Pvt. Ltd. / Laticrete International Inc.) over 20mm thick bed of cement mortar 1:4 (1 cement:4 coarse sand) in levelling course laid to proper slopes over screed base including base preparation including movement joint in screed as per specification with 10mm thick compressible filler to edge of screed with two parts polysulphide sealent to top edge as per approved drawings and directions of engineer-in-charge. Screed shall be measured and paid extra as per DSR 2016 | BI01010001010000000000000515BI0100001131 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.018 | 300x300 hazard warning and directional tactile tiles as per approved drawings | BI01010001010000000000000515BI0100001132 | 50 | EACH | 428.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.019 | TRANSPORTATION | BI01010001010000000000000515BI0100001133 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | Supply of canter on hire charges basis for carriage DG set, pump set etc. of material, shifting of material from here and there as per requirement. For ten hours one shift shall be paid. The rate are inclusive of operator, helper and consumables etc. nothing shall be paid extra. | BI01010001010000000000000515BI0100001135 | 25 | EACH | 2904.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.021 | Hire charges of sky lift (hydra machine) of 15 to 20 meter long boom including driver, helper, diesel etc complete. | BI01010001010000000000000515BI0100001136 | 10 | PER SHIFT | 7728.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.022 | BAFFLE CEILING SYSTEM | BI01010001010000000000000515BI0100001137 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.023 | Providing and fixing 50x100 baffle ceiling ( 50mm Width & 100mm Height) system comprising of U shape panels. Baffle panels shall be made out of 0.7-0.9 mm thick electro galvanized steel material in lengths of up to 4000mm. The Coil should be stove enamelled on a continuous application for pre-treatment. The coils to go through 4 stages of pre-treatment, three times oven baked through conversion coating, priming and finish coat ensuring superior adhesion, high corrosion resistance and good colour stability. The coils to be painted on both sides after degreasing. Inside surface to have a primer of 5 microns and a coat of natural colour of 5 microns, exposed surface to have a primer of 5 microns, binder of 5 microns and topcoat of approved colour of 15 microns. Baffle Ceiling panels shall be mounted on slotted galvanized grid profile of minimum 2mm thickness in a module of 150mm. Baffle grid shall be suspended and supported by means of 6mm dia threaded suspenders at a distance of 150mm from the edge and 1200mm c/c. Baffle fixing brackets shall be used to keep the ceiling in correct place for the leveling purpose. Baffle panels shall be coil coated in a desired specification. Baffle ceiling system shall be installed in compliances with manufacturer’s technical installation brochure and manual. | BI01010001010000000000000515BI0100001138 | 50 | SQM | 4286.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.024 | GLASS WORK | BI01010001010000000000000515BI0100001139 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.025 | Providing and fixing in position laminated toughened glass of 13.52 mm (6mm + 1.52 pvb + 6mm) thickness at various locations in ticket counter window, SCR wall, EFO wall, EFO rooms including the cost of filling gap with clear/coloured sealent of approved make and brand etc. complete as per site requirement (make as per approved list) | BI01010001010000000000000515BI0100001140 | 25 | SQM | 6278.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.026 | Providing and fixing 6mm thick toughened glass in existing frame, subframe with EPDM rubber gasket silicon sealent and necessary pressure clip as and where require. The rate quoted shall be inclusive of fixing and grinding corners and required hole etc all complete and all taxes etc. The contractor shall visit the site and take exact measuremet of size in which glass is to be provided at various locations. | BI01010001010000000000000515BI0100001141 | 15 | SQM | 3354.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.027 | Providing and fixing 10mm thick toughened glass in existing frame, subframe with EPDM rubber gasket silicon sealent and necessary pressure clip as and where require. The rate quoted shall be inclusive of fixing and grinding corners and required hole etc all complete and all taxes etc. The contractor shall visit the site and take exact measuremet of size in which glass is to be provided at various locations. | BI01010001010000000000000515BI0100001142 | 15 | SQM | 4357.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.028 | Digital ultraviolet printing over glass / SS sandwich panel/ metal sheets/ tiles etc. designed as desired and using original UV 8 color inks with 29 picolitre SPECTRA Galexy Print head or equivalent. Double deposition of ink on fixed vaccum table of size bigger than 2500 x 1500 for precision holding of glass/metal sheet etc including the cost of transportation, loading and unloading etc, complete as per architectural drawing and direction of Engineer-in-charge. Printing shall be smooth / textured face directed. | BI01010001010000000000000515BI0100001143 | 10 | SQM | 2361.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.029 | POLY CARBONATE SHEET | BI01010001010000000000000515BI0100001144 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | Providing and fixing 10mm thick poly carbonate sheet make GE or equivalent and make confirming to IS 14443:1987 of required colour, fasteners, silicon sealent, EPDM gaskets and shade including self drilling / self taping screw as per requirement. | BI01010001010000000000000515BI0100001145 | 20 | SQM | 4445.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.031 | Providing, supplying, erecting and fixing in position 3mm thick poly carbonate sheet of approved colour and texture. Cost to include jointing, sealing with butul adhesive and take as per manufactures specification and cover all cost of labours tools, plants, temporary works etc, all complete. | BI01010001010000000000000515BI0100001146 | 75 | SQM | 2361.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.032 | PUMPS | BI01010001010000000000000515BI0100001147 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.033 | Supply 5-7.5 H.P Submersible pump/Diesel pump of discharge capacity 50-60 KL/Hrs including cost of operation etc. complete. | BI01010001010000000000000515BI0100001148 | 25 | SHIFT OF 8 hrs. | 4103.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.034 | ROLLING SHUTTER REPAIRING | BI01010001010000000000000515BI0100001149 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.035 | Oiling and greasing of rolling shutters with H.P. equipment greasing including complete cleaning of oil and scrapping of grease including labours and materials during night time as per direction of Engineer in charge. For rolling shutter upto 4.5m height. | BI01010001010000000000000515BI0100001150 | 720 | EACH | 1535.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.036 | Repairing and Maintenance of existing rolling shutters including dismantling the shutter and refixing the same and fixing of new items as per requiremnt including cleaning, oiling, greasing, alignment and testing complete. The cost of new items will be paid separately except small hardware lihe nuts/bolts and nails which are included in this item. the scope of work includes checking of shutters for smooth functioning quarterly or as and when required. | BI01010001010000000000000515BI0100001151 | 150 | EACH | 1631.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.037 | Providing hardware or other parts for smooth functioning of rolling shutters items supplied will be as per CPWD specifications. | BI01010001010000000000000515BI0100001152 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.038 | Brackets (sides) | BI01010001010000000000000515BI0100001153 | 20 | EACH | 544.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.039 | Wire springs | BI01010001010000000000000515BI0100001154 | 100 | EACH | 762.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.04 | Spring holder | BI01010001010000000000000515BI0100001155 | 50 | EACH | 272.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.041 | MS gararee device | BI01010001010000000000000515BI0100001156 | 30 | EACH | 2178.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.042 | Gear Box | BI01010001010000000000000515BI0100001157 | 30 | EACH | 5446.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.043 | Rolling Shutter handle | BI01010001010000000000000515BI0100001158 | 30 | EACH | 326.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.044 | Locking Naka/ Kundee including welding | BI01010001010000000000000515BI0100001159 | 35 | EACH | 108.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.045 | Ball Bearing | BI01010001010000000000000515BI0100001160 | 30 | EACH | 326.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.046 | Gararee rod | BI01010001010000000000000515BI0100001161 | 20 | EACH | 1307.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.047 | MS top cover | BI01010001010000000000000515BI0100001162 | 30 | R.FT | 163.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.048 | Bottom locking rail | BI01010001010000000000000515BI0100001163 | 30 | R.FT | 272.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.049 | MS Lathe | BI01010001010000000000000515BI0100001164 | 75 | R.FT | 43.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.05 | MS pipe shaft 2"dia | BI01010001010000000000000515BI0100001165 | 75 | R.FT | 163.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.051 | Side guide rail | BI01010001010000000000000515BI0100001166 | 75 | R.FT | 108.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.052 | MS grill for existing pattern | BI01010001010000000000000515BI0100001167 | 75 | SQFT | 272.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.053 | Rolling shutter lever lock | BI01010001010000000000000515BI0100001168 | 30 | EACH | 2081.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.054 | ROLLER BLINDS FROSTED FILM | BI01010001010000000000000515BI0100001169 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.055 | Providing and pasting sun film of approved make | BI01010001010000000000000515BI0100001170 | 100 | SQM | 324.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.056 | FIRE DOOR ACCESSORIES | BI01010001010000000000000515BI0100001171 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.057 | providing and fixing Eurofile Mortice lock -240 with double pin cylinder having master arrangement and ss handles | BI01010001010000000000000515BI0100001172 | 15 | EACH | 3000.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.058 | STEEL DOOR ACCESSORIES | BI01010001010000000000000515BI0100001173 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.059 | Providing and fixing SS handles Dorma or equivalent make for double leaf door complete in all respect | BI01010001010000000000000515BI0100001174 | 15 | EACH | 642.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.06 | PLUMBING ITEMS | BI01010001010000000000000515BI0100001175 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.061 | Providing and fixing Flushing cistern(Make: Hindware) cat. No 21001 | BI01010001010000000000000515BI0100001176 | 10 | Nos. | 4105.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.062 | Providing and fixing wash basin (make: Hindware) cat. No. 10017 | BI01010001010000000000000515BI0100001177 | 5 | Nos. | 3553.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.063 | Providing and fixing Angle valve (make: Jaguar) Code: FLR-5053N | BI01010001010000000000000515BI0100001178 | 25 | Nos. | 1421.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.064 | Providing and fixing waste coupling (make: Jaguar) Code: ALD-705 | BI01010001010000000000000515BI0100001179 | 30 | Nos. | 434.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.065 | Providing and fixing Floor trap stainless steel jali over existing floor trap. | BI01010001010000000000000515BI0100001180 | 200 | Nos. | 197.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.066 | Urinal concealed cock (CTQ 23083) | BI01010001010000000000000515BI0100001181 | 20 | EACH | 1042.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.067 | Providing and fixing Metropole flush valve dual FLV-1085G | BI01010001010000000000000515BI0100001182 | 20 | EACH | 3485.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.068 | Handshower (Health faucet) (ABS body) with 1 meter long easy flex tube in chrome finish & wall hook model no - ALD-IVY-585 or equivalent | BI01010001010000000000000515BI0100001183 | 150 | EACH | 1048.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.069 | Providing and fixing sensor (make: Jaguar) model no : SNR-51083 | BI01010001010000000000000515BI0100001184 | 15 | Nos. | 10659.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.07 | Providing and fixing of head assembly, i.e., phase fitting (made of volga Marc Parko or approved quality) of bib cock, pillar cock and angle valve by taking out of defunct badily damaged bib cock, pillar cock and angle valve. | BI01010001010000000000000515BI0100001185 | 30 | EACH | 316.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.071 | Providing and fixing of syphon set (flushing cistern fittings or accessories made of cera, hindware) and flushing pipe or bend of required size of existing PVC/vitreous china flushing cistern. Removing the old syphon set dismantling the floor tile or refixing the same finishing complete as per direction of Engineer-in-charge. | BI01010001010000000000000515BI0100001186 | 45 | EACH | 949.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.072 | LEAKAGE AND SEEPAGE | BI01010001010000000000000515BI0100001187 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.073 | Providing and installing MS nipple /NRV of size 14mmx 100mm into RCC plinth of track or any structure including the holes and sealing of openings | BI01010001010000000000000515BI0100001188 | 200 | Nos. | 412.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.074 | Providing and injecting microfine injection grout pagel ZL 10 or equivalent in the RCC plinth of track or any structure under high pressure upto 30 bar as per site requirement during traffic/ non traffic hours. | BI01010001010000000000000515BI0100001189 | 50 | KG | 892.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.075 | Providing & placing in position Micro concrete for reinorced pedestal works which shall be cement based pre packed. Single component, Chloried free, Non shrink, Free flow, Self compacting. Ready to use after mixing water in specified proportion obtained from approved manufacturer as per manufacturer's specification and direction of engineer-in-charge [payment under this items shall be made only after proper sounding / tapping with a blunt metal instruments ]. | BI01010001010000000000000515BI0100001190 | 50 | PER BAG (25 KG) | 517.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.076 | METAL WORKS | BI01010001010000000000000515BI0100001191 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.077 | Providing & Fixing 300mm wide SS Grating of length as per architectural drawing with 3mm thick 304 Grade SS pressed plate with 6mm wide slits @ 15mm c/c or with 6mm perforations @ 12mm c/c with 35mm X 35mm X 5mm SS grade 304 tube section welded all around edges and at suitable interval for support, flushed with Floor finish including providing & fixing necessary MS angle frame etc. complete As/ Drawing (for payment purposes only SS item shall be measured) | BI01010001010000000000000515BI0100001192 | 25 | KG | 642.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.078 | SEWER CLEANING | BI01010001010000000000000515BI0100001193 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.079 | Cleaning of chocked drains including removing of covers, cleaning of silt, mud, rubbish etc and refixing of top cover. All work complete including removing and disposal of silt as per direction of Engineer-in-charge for size width (300 to 450mm) depth upto 500mm. | BI01010001010000000000000515BI0100001194 | 200 | RM | 143.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.08 | Cleaning of chocked drains including removing of covers, cleaning of silt, mud, rubbish etc and refixing of top cover. All work complete including removing and disposal of silt as per direction of Engineer-in-charge for size width (500 to 1000mm) depth upto 600 to 1200mm. | BI01010001010000000000000515BI0100001195 | 200 | RM | 237.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.081 | Cleaning of Septic tank as per direction of Engineer-in-charge. | BI01010001010000000000000515BI0100001196 | 6 | EACH | 3879.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.082 | MISCELLANEOUS WORKS | BI01010001010000000000000515BI0100001197 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.083 | Providing and fixing of aluminium handle for aluminium window, shutter, LDB door as per approved quality with screw complete. | BI01010001010000000000000515BI0100001198 | 75 | EACH | 100.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.084 | Providing and fixing stainless steel latch - 250x16x5mm with all necessary fittings etc. | BI01010001010000000000000515BI0100001199 | 10 | Nos. | 256.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.085 | Providing and fixing toilet mirror in 6 mm thick clear float glass with bevelled and polished at edge, fixed on wall with 6mm thick hard board backing fixed to wooden cleats with 8mm dia 38mm long stainless steel stud complete. | BI01010001010000000000000515BI0100001200 | 20 | SQM | 2857.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.086 | providing and fixing HI - Rib - industrial type polyster coated profile tempered sheet (A) having 0.5 mm thickness TCT substrate 240 Mpa yeild strength. Organic coated prepaintted galvalume tensile steel. Silicone modified polyster (SMP) and fluro polymer (PVF 2) coating galvanised cold rolled as per I:S 277 and IS : 513 . The sheet will be fixed to the prepared steel structure frame by specified fastner screw complete as per engineer in charge | BI01010001010000000000000515BI0100001201 | 300 | SQM | 3091.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.087 | Providing, and fixing SS 316 Pull Handle with lock Ø 38mm X 1125mm (C/C)X1500mm(L) of approved quality with necessary screws etc. complete.Approved Make:- Kich/Hafele/ Godrej | BI01010001010000000000000515BI0100001202 | 5 | Nos. | 13340.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.088 | Providing and fixing SS 304 Grade Tower Bolt (Square) Size: 300mm Finish: Satin with necessary screws etc. complete. Approved Make:- Kich/Hafele/ Godrej or equivalent 250x10 mm | BI01010001010000000000000515BI0100001203 | 20 | Nos. | 716.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.089 | Providing and fixing 18mm thk AGL make Ultra White composite marble. Make is as per direction of Engineer-in-charge | BI01010001010000000000000515BI0100001204 | 20 | SQM | 7872.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.09 | Providing and fixing vinyl floor tile Make is as per direction of Engineer-in-charge | BI01010001010000000000000515BI0100001205 | 10 | SQM | 3185.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.091 | P/ A of Melamine polish including cost of PU Coating on wood surface by compressor Make is as per direction of Engineer-in-charge | BI01010001010000000000000515BI0100001206 | 20 | SQM | 1639.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.092 | Providing and laying fly ash foam clinker/ khangar.Make is as per direction of Engineer-in-charge | BI01010001010000000000000515BI0100001207 | 20 | CUM | 4469.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.093 | Providing and fixing of Teak Wood door Cover moudling including melamine polishing etc., complete in all respect size 50x25 mm | BI01010001010000000000000515BI0100001208 | 10 | Metre | 208.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.094 | Providing and fixing of TEAK WOOD DESIGNER MOULDING 38X15MM WITH GROOVE including melamine polishing etc., complete in all respect | BI01010001010000000000000515BI0100001209 | 10 | Metre | 225.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.095 | Providing and fixing of 1mm thick LAMINATE DECORATIVE SPECIAL EDITION | BI01010001010000000000000515BI0100001210 | 20 | SQM | 926.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.096 | Providing and fixing 50 mm wide X 75MM HIGH Boxing for Fixed Glass made out of 18MM THICK COMMERCIAL BOARD WITH 1MM THICK LAMINATE BOTH SIDE, fixing with rawl plugs 100 mm long etc. all complete | BI01010001010000000000000515BI0100001211 | 10 | Metre | 987.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.097 | Extra for design for wall ,designer grooves with horizontal and vertical complete in all respect | BI01010001010000000000000515BI0100001212 | 30 | sqm | 519.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.098 | Supply and Installlation of Roller Blinds without head rail of approved shade and color. Suggested Brand: VISTA or euuivalent | BI01010001010000000000000515BI0100001213 | 20 | sqm | 2022.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.099 | Providing and laying Upvc 90 mm dia pipe Make is as per direction of Engineer-in-charge | BI01010001010000000000000515BI0100001214 | 150 | Rmt. | 208.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.1 | Providing and laying Upvc 110 mm dia pipe.Make is as per direction of Engineer-in-charge | BI01010001010000000000000515BI0100001215 | 150 | Rmt. | 297.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.101 | Providing and laying Upvc 160 mm dia pipe.Make is as per direction of Engineer-in-charge] | BI01010001010000000000000515BI0100001216 | 500 | Metre | 609.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.102 | Providing & laying upvc 250 mm outer dia pipe.Make is as per direction of Engineer-in-charge\ | BI01010001010000000000000515BI0100001217 | 150 | Metre | 1527.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.103 | P/F110 mm dia UPVC Door Bend, having thermal stability for hot & cold water supply. | BI01010001010000000000000515BI0100001218 | 25 | Each | 136.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.104 | P/F 110 mm dia UPVC Plain Bend, having thermal stability for hot & cold water supply | BI01010001010000000000000515BI0100001219 | 25 | Each | 201.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.105 | P/F 110 mm dia UPVC Door "T", having thermal stability for hot & cold water supply. | BI01010001010000000000000515BI0100001220 | 25 | Each | 171.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.106 | P/F 110 mm dia UPVC Plain "T", having thermal stability for hot & cold water supply. | BI01010001010000000000000515BI0100001221 | 25 | Each | 250.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.107 | P/F 110 mm dia UPVC Naini Trap, having thermal stability for hot & cold water supply | BI01010001010000000000000515BI0100001222 | 25 | Each | 154.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.108 | P/F 160 mm dia UPVC Door Bend, having thermal stability for hot & cold water supply. | BI01010001010000000000000515BI0100001223 | 25 | Each | 332.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.109 | P/F 160 mm dia UPVC Plain "T", having thermal stability for hot & cold water supply. | BI01010001010000000000000515BI0100001224 | 25 | Each | 452.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.11 | P/F 160 mm dia UPVC Plain Bend, having thermal stability for hot & cold water supply. | BI01010001010000000000000515BI0100001225 | 25 | Each | 213.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.111 | P/F 160 mm dia UPVC End Cap, having thermal stability for hot & cold water supply. | BI01010001010000000000000515BI0100001226 | 25 | Each | 160.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.112 | P/F 90 mm dia UPVC Door Bend, having thermal stability for hot & cold water supply. | BI01010001010000000000000515BI0100001227 | 25 | Each | 171.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.113 | P/F 90 mm dia UPVC Plain Bend, having thermal stability for hot & cold water supply. | BI01010001010000000000000515BI0100001228 | 25 | Each | 136.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.114 | P/F 90 mm dia UPVC Door "T", having thermal stability for hot & cold water supply. | BI01010001010000000000000515BI0100001229 | 25 | Each | 220.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.115 | P/F 90 mm dia UPVC Plain "T", having thermal stability for hot & cold water supply. | BI01010001010000000000000515BI0100001230 | 25 | Each | 160.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.116 | P/F 110 mmx90mm dia UPVC Naini Trap, having thermal stability for hot & cold water supply. | BI01010001010000000000000515BI0100001231 | 25 | Each | 166.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.117 | P/F 110 mm dia UPVC Cowl, having thermal stability for hot & cold water supply. | BI01010001010000000000000515BI0100001232 | 25 | Each | 184.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.118 | P/F 90 mm dia UPVC Cowl, having thermal stability for hot & cold water supply. | BI01010001010000000000000515BI0100001233 | 25 | Each | 154.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.119 | P/L vitrified floor tiles in different sizes of approved make Size of Tile 120x60 cm | BI01010001010000000000000515BI0100001234 | 20 | sqm | 1974.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.12 | Providing and laying vitrified tiles wall and floor size(300x600) mm | BI01010001010000000000000515BI0100001235 | 20 | sqm | 1608.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.121 | Providing and fixing 8 mm thick transparent acrylic sheet partition with ss 304 grade patch connector of approved brand and manufacture ( cost of SS Frame paid seprately) | BI01010001010000000000000515BI0100001236 | 20 | SQM | 1942.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.122 | Providing and fixing 12 mm thick transparent multi wall poly carbonate sheet partition with ss 304 grade patch connector of approved brand and manufacture ( cost of SS Frame paid seprately) | BI01010001010000000000000515BI0100001237 | 20 | SQM | 1688.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.123 | Providing and fixing of CNC CUT DESIGN WPC - Wood Polimer Composite Boards are made from 70% of virgin polymer, 15% of wood powder and rest 15% of additives and requisite chemicals (0% Harmfull Chemicals). As per approved designs | BI01010001010000000000000515BI0100001238 | 10 | SQM | 3606.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.124 | Providing and fixing of Artificial Grass 40 mm thick, composion made out of UV Resistant Polyethylene and Polypropylene Blend, with Straight and Curly Mono filament Yarn, pile weight 1,160Gr/Sq.m, backing WovenPolypropylenewithFibrelockedFleeceandLatexCompound | BI01010001010000000000000515BI0100001239 | 10 | SQM | 1050 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.125 | Providing and fixing of Vision Glass- wired fire rated for fire door | BI01010001010000000000000515BI0100001240 | 2 | EACH | 2998.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.126 | Providing and fixing of Glass Door Lock for extra security | BI01010001010000000000000515BI0100001241 | 10 | NOS | 2234.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.127 | Providing and fixing of Customised wooden Name plate with 6 mm thick transparent acrylic sheet as per approved design including cost of melamine polishing complete in all respect | BI01010001010000000000000515BI0100001242 | 10 | NOS | 1226.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.128 | Applying of groove Polishing on wall panelling/partition | BI01010001010000000000000515BI0100001243 | 500 | RM | 26.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.129 | Providing and injection Dr. Fixit or Forsec PU Foam injection two component polyurethane foam injection grout manufacture to be site mixed in ratio 10:1 (10 part base 1 part hardener) that shall be injected with mechanically piston driven pump with maximum pressure upto 250 bar or Foam shall be based on MDI ( Methylene Diphenyl isocyanate )polyurethane pre-polymer and acceletor. The system shall react when it comes in contact with water, producing a relatively stiff and insert polyurethane foam. It is a 10% solid and solvent free polyurethane grout for quick temporary closing and sealing of water bearing cracks, cavities and leak under hydrostatic pressure. The systems shall foams to 30-40 times its value in the presence of water and can be an effective means of arresting running water and seepage. Rate inclusive of PU Lubricant, providing , fixing, cutting of non return packers / MS Nipples of required size and repairing the surface with polymer mortar complete at all heights. | BI01010001010000000000000515BI0100001244 | 100 | KG | 2931.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.13 | Providing and injecting Dr.Fixit or Forsec PU plain injection, two component polyurethane plain injection grout manufactured and to be site mixed in ratio 2:1 (2 part base 1 part hardener) that shall be rejected with mechanically piston driven pump with maximum pressure upto 250 bar or as per the requirement of the site at a distance of 300mm C/C in all direction. The PU plain shall be low viscosity, high penetration quick setting and should forms tough and flexible polyurethane rubber after complete chemical reaction with or without water. Rate inclusive of PU Lubricant, providing , fixing, cutting of non return packers of required size and repairing the surface with polymer mortar complete at all heights. | BI01010001010000000000000515BI0100001245 | 100 | KG | 3729.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.131 | Replacing/Refixing defective elastomeric bearings including arrangement for lifting and lowering the span by providing and operating suitable hydraulic jacks of minimum capacity 200T with check nut, tilting saddle and hydraulic power pack (as approved by NMRC), cleaning of pier caps, dismantling and disposing of existing grout below/above the bearing with all leads and lifts, hacking /roughening of pedestal top, chipping of concrete as per the methodology approved by NMRC. The bearings shall be placed over M.S stool/ plate, to be placed/ positioned on the pedestal and a straight/tapered plate shall be placed between the soffit of girder and bearing as per site condition (cost of tapered plate shall be paid separately). Fixing the straight/tapered plate to the soffit of girder by Conbextra EP-75 or equivalent and applying epoxy mortar (Nitomotar 30 or equivalent) of approved brand in the gap between M.S. stool and top of pedestals are included in the scope of this item. The rates include all other items i/c tools, water, electricity, safety net all around etc. complete in all respect as per the direction of engineer in charge. The entire work shall be executed within the framework of overall bearing and repair methodology or any modification as directed by engineer in charge. The rates also include the cost of providing diesel operated sky lift of required boom length for the bearing replacement work to be undertaken. The sky lift shall be provided at site till the completion of bearing replacement work and no fixed hours are specified. The safety and security of all equipments/machinery/material will lie with agency. (NOTE: THE PAYMENT UNDER THIS ITEM SHALL COVER LIFTING OF ONE END OF VIADUCT SPAN FOR REREPLACING ONE OR MORE BEARINGS / PEDESTALS REPAIRING). | BI01010001010000000000000515BI0100001246 | 10 | Each location | 53270.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.132 | Providing machine tapered (with roughened top surface) M.S plate of specified thickness as per site requirement/gradient of soffit of girder. The plate shall be coated with anti-corrosive epoxy primer & paint of approved brand before placing it above/below bearing. All the dimensions of the tapered plate will be decided through pre-inspection of locations. | BI01010001010000000000000515BI0100001247 | 20 | Kg | 162.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.133 | Injection grout with Conbextra EP-10 or equivalent as per specifications through the fixed NRV as per the direction of Engineer in charge . Conbextra EP-10 of two component high strength epoxy grout including the costvof all material, labour at all heights including providing and fixing of nipple/NRV of required size and removing /repairing nipple complete. | BI01010001010000000000000515BI0100001248 | 20 | Ltr. | 4479.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.134 | Providing and fixing Lock Body 9" [With Stainless Steel Main and strike Plate] of approved quality with necessary screws etc. complete. Approved Make:- Kich/Hafele/ Godrej | BI01010001010000000000000515BI0100001249 | 150 | Nos. | 821.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.135 | Providing and fixing Cylinder-60 mm [key & knob] [Fire Rated- BSEN 1634 : 1 : 2000 Certified] of approved quality with necessary screws etc. complete. Approved Make:- Kich/Hafele/ Godrej | BI01010001010000000000000515BI0100001250 | 300 | Nos. | 773.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.136 | Providing and fixing SS 316 Grade Mortice Handle ▫ 19mm+duro profile escutcheons [Satin][BSEN 1906-2010 Tested] with screws etc. complete. Approved Make:- Kich/Hafele/ Godrej | BI01010001010000000000000515BI0100001251 | 100 | Nos. | 2300.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.137 | Providing mixing and appliyng bonding coat of approved adhesive on chipped concrete portion of RCC as per the manufacture's specifications and direction of Engineer complete in all respect .With epoxyof Dr Fixit brand or Fosrock adhesive covering 2.2 sqm surface area per Kg of adhesive | BI01010001010000000000000515BI0100001252 | 100 | Sqm | 312 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.138 | Finishing walls with textured exterior paint of required shade: new work ( 2 or more coats applied @ 3.28 Ltr. Per 10 Sqm) over and including priming coat of exterior primer applied @ 2.20kg per 10 Sqm and scafffolding for all height. | BI01010001010000000000000515BI0100001253 | 5000 | SQM | 530 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.139 | SCHEDULE C (MANPOWER) | BI01010001010000000000000515BI0100001254 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.14 | Providing Plumber/ fitter/ mason/ carpenter for plumbing/ sewerage/ rectification/ carpentary/ masonary work with all required T&P as per direction of Engineer-in-charge. The rates shall be inclusive of PF, ESI and CP etc. The payment shall be made on the attendance basis and reporting shall be made to Engineer-in-charge. No payment shall be made extra | BI01010001010000000000000515BI0100001255 | 3285 | per day | 1152.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.141 | Providing unskilled labours/ helper/ beldar as per direction of Engineer-in-charge. The rate shall be inclusive of PF, ESI & CP etc. The payment shall be made on attendance basis and reporting shall be made to Engineer-in-charge. No payment shall be made extra | BI01010001010000000000000515BI0100001256 | 3285 | per day | 946.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.142 | Providing welder/fitter for welding works along with welding machine to carry out welding work as per direction of Engineer-in-charge including cost of consumable (electrodes). The payment shall be made on attendance basis and reporting shall be made to engineer-in-charge | BI01010001010000000000000515BI0100001257 | 500 | per day | 1152.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K154: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information