## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: NOIDA METRO RAIL CORPORATION
Name of Work:Supply, installation, testing and comissioning of split AC at NMRC head office, and NMRC stations Noida.
Contract No: NMRC/AC/EL-223/219R1/256/2023
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in(Including GST ) Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1.01 | Supply, installation, testing, commissioning and handing over of Self contained split type air-conditioning complete with compressor, motor, copper cooling coil with aluminum fins, air cooled condenser with copper tubes and aluminum fins with fan. The unit shall be in two parts i.e. indoor and outdoor unit complete as required at site/ as per drawing layout, wiring, safeties, controls, cordless remote etc. in a unit The unit shall be of following capacities:2 TR (5 Star Rating) minimum one year warranty | BI01010001010000000000000515BI0100001113 | 12 | Nos. | 63448 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Supply, installation, testing, commissioning and handing over of Self contained split type air-conditioning complete with compressor, motor, copper cooling coil with aluminum fins, air cooled condenser with copper tubes and aluminum fins with fan. The unit shall be in two parts i.e. indoor and outdoor unit complete as required at site/ as per drawing layout, wiring, safeties, controls, cordless remote etc. in a unit The unit shall be of following capacities:1.5 TR (5 Star Rating) minimum one year warranty | BI01010001010000000000000515BI0100001114 | 1 | Nos. | 50248 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Supply, installation and Testing & commissioning copper refrigerant piping and gas charging, to interconnect indoor unit and outdoor unit and routing the piping through the shaft / ceiling as per required. Refrigerant piping shall be insulated complete with (19mm/13mm thick) closed cell elastomeric nitrile rubber tubular between each set of indoor & outdoor units, all the piping inside shall be properly supported with GI hanger. Size for 2.0TR unit:- (Suction:-5/8" and Liquid:-3/8") | BI01010001010000000000000515BI0100001115 | 40 | Rmt | 1747.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.04 | Supply, installation and Testing & commissioning copper refrigerant piping to interconnect indoor unit and outdoor unit and routing the piping through the shaft / ceiling as per required. Refrigerant piping shall be insulated complete with (19mm/13mm thick) closed cell elastomeric nitrile rubber tubular between each set of indoor & outdoor units, all the piping inside shall be properly supported with GI hanger. Size for 1.5 TR unit:- (Suction:-1/2" and Liquid:-1/4") | BI01010001010000000000000515BI0100001116 | 5 | Rmt | 1346 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.05 | AUTOMATIC VOLTAGE STABILIZER Supply, Installation, testing and commissioning of AUTOMATIC VOLTAGE STABILIZER with 3 step relay to covert 140-280 volts incoming power to 200-240 volts out going power, low/high voltage cutout, time delay relay, digital display of voltage / current. Voltage stabilizer 5 KVA for 2.0 TR, (wall mounted type) | BI01010001010000000000000515BI0100001117 | 12 | Rmt | 4153.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.06 | AUTOMATIC VOLTAGE STABILIZER Supply, Installation, testing and commissioning of AUTOMATIC VOLTAGE STABILIZER with 3 step relay to covert 140-280 volts incoming power to 200-240 volts out going power, low/high voltage cutout, time delay relay, digital display of voltage / current. Voltage stabilizer 4 KVA for 1.5TR, (wall mounted type) | BI01010001010000000000000515BI0100001118 | 1 | Rmt | 2960 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | Supply and fixing of Base stand suitable (for safe maintenance) for 2TR outdoor unit fabricated out of 40 x 40 x 5 mm angle iron frame duly painted with black enamel paint. | BI01010001010000000000000515BI0100001119 | 4 | Nos. | 7500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.08 | Supply and fixing of normal Base stand suitable for 2TR/1.5 TR outdoor unit frame duly painted with enamel paint. | BI01010001010000000000000515BI0100001120 | 9 | Nos. | 1850 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.09 | Gas charging of 1.5 TR split AC with leakage rectfication complete in all respect. | BI01010001010000000000000515BI0100001121 | 1 | Set | 3600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | Gas charging of 2 TR split AC with leakage rectfication complete in all respect. | BI01010001010000000000000515BI0100001122 | 12 | Nos. | 3800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.11 | Drain Piping Supply, installation and Testing & commissioning of rigid heavy duty PVC piping. 25 MM DIA | BI01010001010000000000000515BI0100001123 | 40 | meter | 132 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information