## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Noida Metro Rail Corporation (NMRC) Limited
Name of Work: Annual Rate Conrtact for corrective maintenance of HBL make Battery Chargers alongwith one time supply of Battery Charger spares,installed in NMRC for 03 (three) Years
Contract No:
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE (INR) (inclusive of GST) In Figures To be entered by the Bidder | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With All Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supply of PCB POPULATED 3PH RC CARD, 69-00003, Rev:0,110 TP 50A, TP-13-03-5551 | BI01010001010000000000000515BI0100001113 | 7 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Supply of PCB POPULATED DVR CARD, 69-00325, Rev:0,110 TP 50A, TP-13-03-5551 | BI01010001010000000000000515BI0100001114 | 7 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Supply of PCB POPULATED CONNECTOR CARD, 69-00360, Rev:1,110 TP 50A, TP-13-03-5551 | BI01010001010000000000000515BI0100001115 | 7 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Supply of PCB POPULATED 3PH CONTROL CARD, 69-00081, Rev:2,110 TP 50A, TP-13-03-5551 | BI01010001010000000000000515BI0100001116 | 5 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Supply of PCB POPULATED PULSE TRANSFORMER CARD, 69-00082, Rev:3,110 TP 50A, TP-13-03-5551 | BI01010001010000000000000515BI0100001117 | 7 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Supply of PCB POPULATED MULTI ALARM CARD ( for three Ph Charger), 69-00083, Rev:0,110 TP 50A, TP-13-03-5551 | BI01010001010000000000000515BI0100001118 | 5 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Supply of PCB POPULATED LED DISPLAY CARD ( for three Ph Charger), 69-00084, Rev:0,110 TP 50A, TP-13-03-5551 | BI01010001010000000000000515BI0100001119 | 7 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Supply of PCB POPULATED DC-DC CONVERTER CARD (110V) 69-00085 REV:0,110 TP 50A, TP-13-03-5551 | BI01010001010000000000000515BI0100001120 | 5 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Supply of PCB POPULATED MAINS FAILED CARD, 69-00087, Rev:0,110 TP 50A, TP-13-03-5551 | BI01010001010000000000000515BI0100001121 | 7 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Supply of PCB POPULATED RELAY CARD, 69-00088, Rev:0,110 TP 50A, TP-13-03-5551 | BI01010001010000000000000515BI0100001122 | 5 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Supply of CONTROL TRANSFORMER,50 VA 415±20% SEC1:18V IA SEC2:15V IA SEC3:15V IA, 110 TP 100A | BI01010001010000000000000515BI0100001123 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Supply of CONTROL TRANSFORMER,50VA, primary-415V+/- 20%,14.55A Sec-1 , 18V,1A, Sec-2 -15V,1A, Sec-3, 15V,1A , 110 TP 50A | BI01010001010000000000000515BI0100001124 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Supply of MAIN TRANSFORMER, 10.46 kVA, primary-415V+/- 15%,14.55A Secondary-136V, 44.5A,110 TP 50A | BI01010001010000000000000515BI0100001125 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Supply of MAIN TRANSFORMER, 20.92 KVA PRI 419/ ±15% 29,11A SEC:136M 89A50 VA 415±20%,110 TP 100A | BI01010001010000000000000515BI0100001126 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Supply of SYNC. TRANSFORMER 10 VA 230±20% SECI :0-10V IA, ,110 TP 100A | BI01010001010000000000000515BI0100001127 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Supply of SYNC. TRANSFORMER10VA, 230+/- 20%, Sec-1, 0-10V ,1A, ,110 TP 50A | BI01010001010000000000000515BI0100001128 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | Supply of CHOKE, 0.84mH 300HZ AT 100A DC ,110 TP 100A, TP-14-03-5844 | BI01010001010000000000000515BI0100001129 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | Supply of CHOKE, 1.68mH, 300H AT 50A DC,110 TP 50A, TP-14-03-5794 | BI01010001010000000000000515BI0100001130 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | Per Man Day Engineer's charges for Breakdown Maintenance/repair of cahrger in Ist year (FY 2023-24) | BI01010001010000000000000515BI0100001131 | 20 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | Per Man Day Engineer's charges for Breakdown Maintenance/repair of cahrger in Ist year (FY 2024-25) | BI01010001010000000000000515BI0100001132 | 20 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | Per Man Day Engineer's charges for Breakdown Maintenance/repair of cahrger in Ist year (FY 2025-26) | BI01010001010000000000000515BI0100001133 | 20 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | ** Kindly note that from Sr. no. 1 to Sr. no. 10 in above mentioned BOQ all cards supply should be of confirmal coating | BI01010001010000000000000515BI0100001134 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information