## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Noida Metro Rail Corporation (NMRC) Limited
Name of Work: Providing conference room facility, CCTV Camera and Televisions along with sky TVs for newly built NMRC office extension at Ganga Shopping Complex, sector 29, Noida
Contract No: NMRC/DGM (RS&E,Ops.)/Conference/2020/100
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate (Inclusive of GST) in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [25 empty] | Specifications |  |  |  |  | TOTAL AMOUNT Without Tax Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Conference Room | BI01010001010000000000000515BI0100001112 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.01 | Supply Installation Testing & Commissioning of 75" 4K UHD LED Display on Front wall, complete with installation along with suitable swivel wall mount etc. as required. | BI01010001010000000000000515BI0100001113 | 1 | Each | 269233 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Supply, Installation, Tetsing & Commissoning of Cable Cubby POP-UP Box with RJ45 x 2 / Audio jack x 1 / HDMI x 1 / VGA x 1 / Universal power socket x 2 / USB Charger X 1. | BI01010001010000000000000515BI0100001114 | 3 | Each | 22781 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Supply and Laying of 2.5 Metres HDMI patch cord with connectors in existing conduit i/c testing etc. as required. | BI01010001010000000000000515BI0100001115 | 3 | Each | 1795 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.04 | Supply and Laying of 1.5 Metres HDMI patch cord with connectors in existing conduit i/c testing etc. as required. | BI01010001010000000000000515BI0100001116 | 8 | Each | 1381 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.05 | Supply and Laying of 24 AWG or better shielded CAT 6 cable with suitable connectors in existing conduit i/c testing etc. as required. | BI01010001010000000000000515BI0100001117 | 250 | Mtr | 28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.06 | SITC of HDMI CABLE 20 mtr, | BI01010001010000000000000515BI0100001118 | 1 | Each | 28709.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.07 | SITC of HDMI CABLE 10 mtr, | BI01010001010000000000000515BI0100001119 | 3 | Each | 18270.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.08 | CIVIL,WOODEN AND ELECTRIC WORK | BI01010001010000000000000515BI0100001120 | 1 | . | 87360 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | IP CCTV CAMERA | BI01010001010000000000000515BI0100001121 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.01 | Supply , Installation , Testing and Commissioning of armoured 6 core Singlemode OFC cable for interfloor switches connectivity. | BI01010001010000000000000515BI0100001122 | 100 | Mtr | 124 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | Supply , Installation , Testing and Commissioning of 6 port loaded LIU with LC adaptor plates , pigtel cables etc complete as required. | BI01010001010000000000000515BI0100001123 | 1 | Nos. | 10562 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | Supply , Installation , Testing and Commissioning of 24 port loaded LIU for with LC adaptor plates , pigtel cables for core switch to access switch connectivity over fiber. | BI01010001010000000000000515BI0100001124 | 1 | Nos. | 18639 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.04 | Supply , Installation , Testing and Commissioning of LC-LC singlemode fiber patch cord for LIU to switch connectivity. | BI01010001010000000000000515BI0100001125 | 4 | Nos. | 1864 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.05 | Supply , Installation , Testing and commissioning of CAT 6 UTP cable 23 AWG solid copper conductors for Connectivity of Hub room to End Point. | BI01010001010000000000000515BI0100001126 | 1200 | Mtr | 28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.06 | Supply , Installtion , Testing and Comissioning of CAT6 information outlet (I/O) for Data, Voice, Camera & Wi-Fi at user end. | BI01010001010000000000000515BI0100001127 | 20 | Nos. | 255 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.07 | Supply , Installtion , Testing and Comissioning of loaded 24 port CAT6 jack panel for CAT6 cable termination at rack end. | BI01010001010000000000000515BI0100001128 | 2 | Nos. | 8974 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.08 | Supply , Installtion , Testing and Comissioning of CAT6 patch cord 3 feet for rack side switch to jack panel connectivity. | BI01010001010000000000000515BI0100001129 | 20 | Nos. | 255 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.09 | Supply , Installtion , Testing and Comissioning of CAT6 patch cord 7 feet for information outlet (I/O) to end user device connectivity. | BI01010001010000000000000515BI0100001130 | 20 | Nos. | 262 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.1 | Supply , Installtion , Testing and Comissioning of 1, 2 and 4 port face plate white for I/O fixing at user side. | BI01010001010000000000000515BI0100001131 | 20 | Nos. | 76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.11 | Supply , Installation , Testing and Commissioning of 42 U (600W/1000D) floor mount rack with fans , 2 cable managers , satationary shelf , 2 Nos. of hardware pkts. | BI01010001010000000000000515BI0100001132 | 1 | Nos. | 55227 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.12 | Supply , Installation , Testing and Commissioning of 3 MP Dome Camera , ONVIF profile S & G ,UL , CE , FCC Certified , 1/2.8" CMOS sensor ,3.6 mm fixed focal , triple stream ,Min Illumination :0.01 Lux @ (F1.2, AGC ON), 0.028 Lux @(F2.0, AGC ON), 0 Lux with IR , Shutter Speed : 1/5 ̴ 1/100,000 s , Edge analytics : line crossing , perimeter intrusion , stationary object ,Video Compression : H.265 ,H.264 , frame rate 30 fps @ 3MP , Edge analytics : line crossing , perimeter intrusion ,Face detection , cross counting , stationary object ,Inbuilt IR LED , IR distance upto 30 mtrs ,IP 66 , POE . | BI01010001010000000000000515BI0100001133 | 5 | Each | 11045 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.13 | Supply , Installation , Testing and Commissioning of 3 MP Bullet Camera , ONVIF profile S & G, UL, CE, FCC Certified, 1/2.8" CMOS sensor, 3.6 mm fixed focal, triple stream, Min Illumination :0.05 Lux @ (F1.2, AGC ON), 0 Lux with IR, Shutter Speed : 1/5 ̴ 1/100,000 s, Video Compression : H.265 , H.264, 120 dB WDR, frame rate 30 fps @ 3MP, Edge analytics : line crossing , perimeter intrusion, Face detection, cross counting, stationary object, Inbuilt IR LED, IR distance upto 30 mtrs, IP 66, POE. Make :Allgovision/ Impulse / Avigilon / Cisco/ Axis | BI01010001010000000000000515BI0100001134 | 15 | Each | 11045 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.14 | Supply, installation, testing and commissioning of ONVIF profile S & G ,UL certified 32 Channel NVR , 4 SATA ports , each SATA capacity of upto 8 TB , Recording Bandwidth 320 Mbps , 1 X HDMI , 1 X VGA , Alarm : 16ch in / 1ch out , 1 X RJ45 port , 1x3.0 USB for backup / upgrade, 2x 2.0 USB for mouse , Smart Phone support : iOS, Android. | BI01010001010000000000000515BI0100001135 | 1 | Each | 9665 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.15 | Supply, installation, testing and commissioning of 4TB HDD. | BI01010001010000000000000515BI0100001136 | 2 | Each | 24852 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.16 | Supply, installation, testing & commissioning of 24 port L2 Managed switch having port density 24 Nos of 10M/100M/1G RJ45 Port POE /POE+ ports , 2 Nos of GbE RJ45/SFP Combo Port , 1X console port , Available POE power 370 W , 52 Gbps switching bandwidth , 8K MAC address support , Support L2 feature STP, RSTP ,MSTP . Support 802.1Q VLAN , port based VLAN , 4K VLAN entries , MAC based VLAN , IP subnet based VLAN . Support IEEE 802.3ad LACP . L3 features - static routing , DHCP feature , Device Management system - topology view , floor view , map view , dashboard , traffic monitoring , cable diagnostics.CE,FCC certified. Approved | BI01010001010000000000000515BI0100001137 | 3 | Nos | 124261 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.17 | Supply, Installation, Testing and Commissioning of Workstation PC: Intel(R) Core(TM) i7-3770 Processor (8M Cache, up to 3.90 GHz); RAM: 8GB (1x8GB) Non-ECC DDR3 1600MHz ; Keyboard: 12 function keys; Chassis: Tower/Workstation; DVD: 8X Slimline DVD+/-RW, Data Only; Dual Graphics Card; Network interface card: Integrated Intel(R) 82579LM Gigabit1 Ethernet LAN 10/100/1000; Hard disk: 250GB, 7200 RPM 3.5" SATA 6Gb/s Hard Drive; Operating system: Windows 7 Professional 64 Bit or latest. | BI01010001010000000000000515BI0100001138 | 1 | Each | 89744 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.18 | Supplying, Installation,Testing & Commissioning of 32 " LED Full HD TV Resolution 1920 x 1080 ,Contrast Ratio (Typical) 5000:1,Built-in Speaker (10W + 10W), Magic Clone (to USB), Auto Source Switching & Recovery, Lamp Error Detection, Super Clear Coating, Temperature Sensor, Plug and Play (DDC2B), Pivot Display, Clock Battery, PIP/PBP, Video Wall (10x10), Image Rotation, Button Lock, HDCP Support, Smart Scheduling, Smart F/W update, Built-In MagicInfo Premium-Swith Mounting Brackets as per Technical Specification complete in all respect. | BI01010001010000000000000515BI0100001139 | 1 | Each | 24852 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | SMART TV | BI01010001010000000000000515BI0100001140 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.01 | Supply Installation Testing & Commissioning of 54" 4K UHD LED Display with 350 nits on Front wall, complete with installation along with suitable swivel wall mount etc. as required. | BI01010001010000000000000515BI0100001141 | 2 | Each | 173275 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.02 | Supply Installation Testing & Commissioning of corner cut LED cum screen 65" 4K UHD smart TV complete with installation etc. as required. | BI01010001010000000000000515BI0100001142 | 1 | Each | 178203.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.03 | Supply Installation Testing & Commissioning of 50" 4K UHD LED Display with 350 nits on Front wall, complete with installation along with suitable swivel wall mount etc. as required. | BI01010001010000000000000515BI0100001143 | 2 | Each | 138068 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.04 | Supply Installation Testing & Commissioning of 43" 4K UHD LED Display with 350 nits on Front wall, complete with installation along with suitable swivel wall mount etc. as required. . | BI01010001010000000000000515BI0100001144 | 6 | Each | 104241 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.05 | Supplying, installation, testing and commissioning of HD set up box complete in all respect | BI01010001010000000000000515BI0100001145 | 11 | Each | 2968 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information